## PRED
Comite Nacional de Despacho de Carga
REDESPACHO DE CARGA (MW) - BORNES DE GENERADOR
lunes, 28 de noviembre de 2022
HORA | 1:00 | 2:00 | 3:00 | 4:00 | 5:00 | 6:00 | 7:00 | 8:00 | 9:00 | 10:00 | 11:00 | 12:00 | 13:00 | 14:00 | 15:00 | 16:00 | 17:00 | 18:00 | 19:00 | 20:00 | 21:00 | 22:00 | 23:00 | 1899-12-31 | TOTAL
SISTEMA ZONGO | 56.22 | 44.4024 | 32.0557 | 30.1408 | 37.4582 | 34.2169 | 60.6053 | 53.2536 | 84.1861 | 82.8594 | 91.0893 | 97.0623 | 90.3632 | 90.9736 | 115.143 | 95.8809 | 87.448 | 87.4376 | 88.6208 | 108.1151 | 94.9022 | 87.7846 | 80.3264 | 62.7849 | 1793.3302
SISTEMA TAQUESI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39.1333 | 34.1758 | 0 | 29.8895 | 0 | 32.7093 | 0 | 0 | 0 | 135.9079
SISTEMA CORANI | 63.1409 | 36.1613 | 14.9667 | 10 | 10 | 18.2243 | 71.5161 | 26.081 | 23.8524 | 39.7777 | 25.1455 | 44.9395 | 53.7093 | 104.7267 | 141.2817 | 140.2307 | 120.7702 | 82.8839 | 112.4516 | 160.2205 | 191.589 | 149.4859 | 120.5148 | 86.1174 | 1847.7871
SISTEMA MISICUNI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.08 | 109.08 | 21.5 | 8.7 | 8.7 | 0 | 257.06
SISTEMA MIGUILLA | 10.7063 | 8.4964 | 10.4779 | 10.605 | 10.605 | 10.605 | 10.8065 | 10.8996 | 10.9736 | 10.8522 | 16.4562 | 16.5169 | 16.3955 | 16.4562 | 16.5169 | 18.7858 | 18.7858 | 18.5429 | 19.4191 | 19.4191 | 19.4191 | 19.4172 | 18.7651 | 16.4562 | 356.3793
SISTEMA YURA | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 6.82 | 13.77 | 17.5162 | 17.5162 | 17.5162 | 17.5162 | 10 | 6.82 | 216.5948
KANATA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4 | 6.4 | 6.9368 | 6.9368 | 6.9368 | 6.9368 | 0 | 0 | 40.5472
QUEHATA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.66 | 1.71 | 1.71 | 1.71 | 0 | 0 | 0 | 6.79
SAN JACINTO | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
SUBTOTAL HIDRO | 136.8872 | 95.88 | 64.3203 | 57.5658 | 64.8832 | 69.8662 | 149.7479 | 97.0542 | 125.8322 | 140.3093 | 139.5109 | 165.3387 | 167.2879 | 218.9765 | 279.7616 | 300.8507 | 274.3999 | 210.6944 | 385.6239 | 422.9977 | 386.2826 | 289.8407 | 238.3063 | 172.1785 | 4654.3966
QOLLPANA 1 | 1.26 | 0.51 | 0.42 | 0.51 | 0.45 | 0.22 | 0.04 | 0.06 | 0.21 | 0.36 | 0.43 | 0.45 | 0.64 | 1.37 | 2.39 | 2.76 | 2.81 | 2.79 | 2.58 | 1.78 | 0.81 | 0.25 | 0.05 | 0.02 | 23.17
QOLLPANA 2 | 4.51 | 1.71 | 1.39 | 1.7 | 1.5 | 0.71 | 0.13 | 0.18 | 0.65 | 1.17 | 1.42 | 1.5 | 2.17 | 4.92 | 9.22 | 11.81 | 12.35 | 12.14 | 10.3 | 6.49 | 2.77 | 0.79 | 0.16 | 0.08 | 89.77
WARNES | 5.4 | 6.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 6 | 5.2 | 5.3 | 5.8 | 5.9 | 5.6 | 5.1 | 4.6 | 4.4 | 4.3 | 4.2 | 4.1 | 4.1 | 141
SAN JULIAN | 4.6 | 5.1 | 5.9 | 6.6 | 6.9 | 6.9 | 7 | 7.3 | 7.4 | 6.8 | 5.8 | 4.7 | 4 | 3.9 | 4.1 | 4 | 3.7 | 3.5 | 3.3 | 3.2 | 3.3 | 3.6 | 3.8 | 3.7 | 119.1
EL DORADO | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.4 | 14.36 | 13.71 | 13.49 | 14.26 | 14.4 | 14.4 | 14.4 | 14.4 | 343.82
SUBTOTAL EOLICO | 30.17 | 27.92 | 29.31 | 30.41 | 30.45 | 29.43 | 28.77 | 29.14 | 29.86 | 29.93 | 29.25 | 27.05 | 26.41 | 29.89 | 35.91 | 38.87 | 38.82 | 37.24 | 34.27 | 30.13 | 25.58 | 23.24 | 22.51 | 22.3 | 716.86
UYUNI | 0 | 0 | 0 | 0 | 0 | 0 | 7.83 | 24.34 | 37.41 | 46.93 | 52.35 | 54.1 | 53.07 | 49.01 | 40.18 | 24.73 | 11.57 | 0.87 | 0 | 0 | 0 | 0 | 0 | 0 | 402.39
YUNCHARA | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.6 | 1.8 | 3.8 | 4.2 | 4.51 | 4.51 | 4.4 | 4 | 3.8 | 2.8 | 0.6 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 35.22
ORURO 1 | 0 | 0 | 0 | 0 | 0.37 | 2.79 | 11.62 | 22.18 | 30.49 | 36.03 | 38.18 | 39.37 | 37.22 | 34.35 | 22.89 | 5.52 | 2.04 | 0.86 | 0 | 0 | 0 | 0 | 0 | 0 | 283.91
ORURO 2 | 0 | 0 | 0 | 0 | 0.35 | 2.83 | 12.31 | 23.69 | 32 | 37.74 | 41.17 | 41.93 | 37.8 | 34.82 | 19.94 | 6.26 | 2.2 | 1.03 | 0 | 0 | 0 | 0 | 0 | 0 | 294.07
SUBTOTAL SOLAR | 0 | 0 | 0 | 0 | 0.72 | 5.72 | 32.36 | 72.01 | 103.7 | 124.9 | 136.21 | 139.91 | 132.49 | 122.18 | 86.81 | 39.31 | 16.41 | 2.86 | 0 | 0 | 0 | 0 | 0 | 0 | 1015.59
GCH01 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
GCH02 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
GCH04 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -16.5579 | -16.4077 | -16.2596 | -16.1105 | -16.1105 | -16.2596 | -16.2596 | -16.4077 | 0 | 0 | 0 | 0 | 0 | 0 | 130.3743
GCH06 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GCH09COM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GCH10COM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GCH0910COM | 158.4004 | 158.4004 | 158.4004 | 158.4004 | 158.4004 | 158.4004 | 158.4004 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 160.2002 | 165.5996 | 165.5996 | 165.5996 | 165.5996 | 160.2002 | 160.2002 | 3853.8
GCH11 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35.3556 | -52.0177 | -51.5902 | -51.1543 | -50.7185 | -50.7185 | -51.1543 | -51.1543 | -51.5902 | 0 | 0 | 0 | 0 | 0 | 0 | 445.4516
SCZ01 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -17.7004 | -17.545 | -17.3906 | -17.2362 | -17.0808 | -16.9264 | -16.772 | -16.772 | -16.9264 | -16.9264 | -17.0808 | -17.817 | -17.9765 | -18.137 | -18.2965 | 0 | 0 | 260.5824
SCZ02 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -17.5941 | -17.4356 | -17.2761 | -17.1155 | -17.1155 | -17.2761 | -17.2761 | -17.4356 | 0 | 0 | 0 | 0 | 0 | 0 | 138.5251
UNA01 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
GBE01 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
IAG01 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
AGU01 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
AGU02 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
CCWAR10 | 111.2108 | 111.2108 | 111.2108 | 111.2108 | 102.7799 | 78.4704 | 110.6262 | 110.0903 | 108.8795 | 107.6687 | 106.4579 | 105.2471 | 103.6023 | 101.9668 | 101.9668 | 103.6023 | 103.6023 | 105.2471 | 110.0467 | 111.298 | 112.5493 | 113.8006 | 110.0903 | 110.0903 | 2562.9257
CCWAR11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCWAR12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAR11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAR12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCWAR20 | 110.4704 | 110.4704 | 110.4704 | 110.4704 | 110.4704 | 110.4704 | 109.8951 | 109.3603 | 108.1589 | 106.9574 | 105.756 | 104.5545 | 102.918 | 101.2918 | 101.2918 | 102.918 | 102.918 | 104.5545 | 109.3209 | 110.5628 | 111.8048 | 113.0467 | 109.3603 | 109.3603 | 2586.8507
CCWAR21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCWAR22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAR21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAR22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAR51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.2845 | 37.1506 | 36.7196 | 36.2897 | 35.8588 | 35.216 | 34.5722 | 34.5722 | 35.216 | 35.216 | 35.8588 | 37.513 | 37.9574 | 38.4029 | 38.8484 | 37.5815 | 37.5815 | 620.8386
CCWAR30 | 117.0498 | 117.0498 | 117.0498 | 117.0498 | 117.0498 | 117.0498 | 116.3551 | 116.0976 | 115.2098 | 114.3136 | 113.4268 | 112.5389 | 111.4123 | 110.2939 | 110.2939 | 111.4123 | 111.4123 | 112.5389 | 117.2503 | 118.1672 | 119.0935 | 120.0104 | 116.0976 | 116.0976 | 2764.3204
CCWAR31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCWAR32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCWAR40 | 116.7664 | 116.7664 | 99.8484 | 81.5254 | -79.6137 | -79.6137 | 89.7747 | 115.8204 | 114.9325 | 114.0457 | 113.1589 | 112.271 | 111.1526 | 110.0343 | 110.0343 | 111.1526 | 111.1526 | 112.271 | 116.973 | 117.8899 | 118.8069 | 119.7238 | 115.8204 | 115.8204 | 2604.972
CCWAR41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCWAR42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BUL01- RF | -39.4449 | -39.4449 | -39.4449 | -39.4449 | -39.4449 | -39.4449 | -39.4449 | -39.6185 | -39.4823 | -39.2079 | -38.842 | -38.842 | -38.842 | -38.4751 | -38.4751 | -38.842 | -39.2079 | -39.6185 | -41.237 | -41.237 | -41.237 | -41.237 | -39.8929 | -39.8929 | 950.3002
BUL02- RF | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
BUL03 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -43.5894 | -43.5748 | -43.5676 | -43.5676 | -43.5665 | -43.5603 | -43.5603 | -43.5665 | -43.5738 | -43.5967 | -45.0925 | -45.104 | -45.105 | -45.1102 | -43.6393 | 0 | 659.775
CAR01 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CAR02 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CAR03 - PPG | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
ERI11 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
ERI12 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
ERI21 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
ERI22 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CCERI30 | 66.1372 | 66.1372 | 66.1372 | 66.1372 | 66.1372 | 66.1372 | 66.1372 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 66.8888 | 69.1435 | 69.1435 | 69.1435 | 69.1435 | 66.8888 | 66.8888 | 1609.0884
CCERI31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCERI32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCERI40 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
CCERI41 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
CCERI42 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
CCERI50 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CCERI51 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CCERI52 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
VHE01 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
VHE02 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -16.6202 | -16.3616 | -16.2354 | -15.9838 | -15.8586 | -15.7253 | -15.5919 | -15.7253 | -15.7253 | -15.9838 | -16.6525 | -16.7828 | -16.9131 | -17.0434 | -16.6202 | 0 | 243.8245
VHE03 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
VHE04 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
VHE05 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | -9.4576 | 9.4646 | 9.3636 | 9.2434 | 9.1737 | 9.0333 | 8.9626 | 8.8768 | 8.7899 | 8.8768 | 8.8768 | 9.0333 | 9.4101 | 9.4828 | 9.5545 | 9.6273 | 9.3636 | 9.4141 | 166.0053
VHE06 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | -9.4576 | -9.4646 | 9.3636 | -9.2434 | 9.1737 | 9.0333 | 8.9626 | 8.8768 | 8.7899 | 8.8768 | 8.8768 | 9.0333 | -9.4101 | -9.4828 | 9.5545 | 9.6273 | -9.3636 | -9.4141 | 166.0053
VHE07 - PPG | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
VHE08 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | -9.4576 | -9.4646 | 9.3636 | -9.2434 | 9.1737 | 9.0333 | 8.9626 | 8.8768 | 8.7899 | 8.8768 | 8.8768 | 9.0333 | -9.4101 | -9.4828 | 9.5545 | 9.6273 | -9.3636 | -9.4141 | 166.0053
ALT01 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -15.6538 | -15.4362 | -15.2976 | -15.1589 | -15.0202 | -14.8816 | -14.7287 | -14.7287 | -14.8816 | -15.0202 | -15.8128 | -15.9565 | -16.1002 | -16.1812 | -15.7328 | -15.8117 | 246.4008
ALT02 - RF | -29.5142 | -29.5142 | -29.5142 | -29.7753 | -29.7753 | -29.7753 | -29.5142 | -29.584 | -29.0547 | -28.5142 | -28.2389 | -27.9626 | -27.6872 | -27.4119 | -27.165 | -27.165 | -27.4119 | -27.6872 | -29.1903 | -29.4757 | -29.7601 | -30.0344 | -29.3198 | -29.584 | 692.629
ARJ08 | -16.2939 | -16.4071 | -16.4071 | -16.5204 | -16.5204 | -16.5204 | -16.4071 | 16.3653 | 16.1367 | 16.0214 | 15.7929 | 15.6765 | 15.5602 | 15.4439 | 15.5602 | 15.5602 | 15.6765 | 15.9071 | 16.5622 | 16.6806 | 16.798 | 16.9163 | 16.3653 | 16.4796 | 388.5833
ARJ09 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARJ11 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARJ12 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARJ13 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARJ14 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARJ15 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
ARJ01 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARJ02 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ARJ03 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCSUR10 | -98.617 | -78.5184 | -93.8332 | -93.1826 | -101.6159 | -105.2308 | -106.9203 | -102.5509 | -104.6611 | -103.4565 | -97.9612 | -99.4061 | -99.8615 | -98.6569 | -98.6569 | -99.8615 | -99.8615 | -103.4565 | 109.6275 | -111.7807 | -112.3505 | -112.9098 | -109.2277 | -109.2277 | 2451.4319
CCSUR11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCSUR12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUR11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUR12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCSUR20 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCSUR21 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55.4491 | -52.7282 | -50.9549 | -48.7408 | 0 | 0 | 207.8734
CCSUR22 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUR21 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUR22 - PPG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCSUR30 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CCSUR31 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CCSUR32 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0
CCSUR40 | -115.9045 | -115.9045 | -115.9045 | -115.9045 | -115.9045 | -115.9045 | -114.3442 | -113.1605 | -111.4974 | -110.6097 | -109.7324 | -108.8447 | -107.9675 | -107.0797 | -107.0797 | -107.9675 | -107.9675 | -110.6097 | 116.9748 | -119.5425 | -120.0829 | -120.6327 | -116.6999 | -116.6999 | 2722.9194
CCSUR41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCSUR42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SBU01 | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | M | 0
MOA02 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MOA06 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MOA07 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MOA08 - RF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUBTOTAL TERMO | 982.569 | 962.7334 | 961.0008 | 942.6019 | 940.3127 | 920.3288 | 989.1121 | 1064.9245 | 1136.4424 | 1163.3135 | 1201.4202 | 1195.2167 | 1186.8475 | 1176.358 | 1175.9323 | 1185.8012 | 1186.7311 | 1201.8847 | 1221.1527 | 1229.1402 | 1233.9649 | 1239.1299 | 1134.2773 | 1074.8968 | 26639.4826
RGV | 2.76 | 2.91 | 2.78 | 2.98 | 2.6 | 3.31 | 2.92 | 2.81 | 2.69 | 2.86 | 2.65 | 2.6 | 2.59 | 2.53 | 2.78 | 2.75 | 2.79 | 2.83 | 2.66 | 2.81 | 2.46 | 2.97 | 2.65 | 2.92 | 66.61
SUBTOTAL EXCEDENTES | 2.76 | 2.91 | 2.78 | 2.98 | 2.6 | 3.31 | 2.92 | 2.81 | 2.69 | 2.86 | 2.65 | 2.6 | 2.59 | 2.53 | 2.78 | 2.75 | 2.79 | 2.83 | 2.66 | 2.81 | 2.46 | 2.97 | 2.65 | 2.92 | 66.61
TOTAL | 1149.6262 | 1086.5334 | 1054.6311 | 1030.5777 | 1036.3659 | 1025.345 | 1199.99 | 1263.1287 | 1395.8346 | 1458.4528 | 1506.3911 | 1527.5154 | 1513.0354 | 1547.4045 | 1578.4139 | 1564.832 | 1516.361 | 1452.6791 | 1641.0466 | 1682.2679 | 1645.8275 | 1552.2105 | 1395.0936 | 1269.3753 | 33026.3291
RESERVA ROTANTE | 163.6195 | 158.4975 | 151.4699 | 149.136 | 150.8108 | 153.015 | 171.6432 | 148.7874 | 161.5278 | 171.898 | 177.3733 | 178.2664 | 179.6882 | 185.8139 | 189.6265 | 195.0764 | 193.8427 | 182.5837 | 149.5278 | 150.4882 | 149.7198 | 143.3695 | 177.3778 | 161.551
RESERVA PARADA | 848.4244 | 891.5555 | 950.1185 | 970.3127 | 956.3567 | 938.2602 | 773.0492 | 832.1906 | 703.9876 | 598.3185 | 537.6602 | 518.8061 | 506.6928 | 438.4394 | 403.0196 | 365.4452 | 377.6607 | 499.1907 | 318.5405 | 306.9154 | 325.487 | 413.7525 | 607.2988 | 752.0134
SEGURIDAD DE AREAS
UNIDAD MARGINAL | WAR51 | WAR51 | CCWAR40 | CCWAR40 | CCWAR10 | CCWAR10 | CCWAR40 | BUL3 | GCH11 | GCH11 | GCH6 | GCH6 | GCH6 | GCH6 | GCH6 | GCH6 | GCH6 | GCH6 | GCH11 | GCH11 | GCH11 | GCH11 | SCZ1 | BUL3
COSTO US$/MWh | 16.629 | 16.629 | 15.453 | 15.453 | 14.932 | 14.932 | 15.46 | 19.847 | 20.351 | 20.386 | 21.897 | 21.946 | 22.003 | 22.06 | 22.06 | 22.003 | 22.003 | 21.946 | 20.254 | 20.219 | 20.184 | 20.149 | 19.836 | 19.839
NOTA: El signo negativo indica que la unidad operará en condición forzada o de reserva fria. | [9 empty] | RF: Reserva Fría |  |  | ND: No Disponible |  |  |  | M: Mantenimiento |  |  | PPG: Potencia de Punta Generada
Redespacho efectuado por ajuste de la Demanda Oriental y por Potencia Limitada de la unidad CCERI30.